## Address form
Aurasafe address form
Project:
TA Seller:
Customer:
Customer Contact:
E-mail:
Phone:
Signals, general:
Fire alarm control: |  | Select
Fire alarm is activated: |  | Select
Connects to SD system: |  | Select
Bus selection Ring bus |  | Select
"Comments/ Specification: "
Signals, ventilation systems:
System nr. | Operation signal is connected |  |  | Stop signal is sent from
360.01 | Select |  |  | Select
360.02 | Select |  |  | Select
360.03 | Select |  |  | Select
360.04 | Select |  |  | Select
360.05 | Select |  |  | Select
"Comments/ Specification: "
Fire dampers nr. | mounted room | mounted floor | mounted building name | connected damper module | connected control cabinets | connected vent.system
BS001 |  | 1st floor | Block A | SM001 | Select | 360.01 | example !
BS002 |  | 1st floor | Block A | SM001 | Select | 360.01
BS003 |  | 1st floor | Block A | SM002 | Select | 360.01
BS004 |  | 1st floor | Block A | SM003 | Select | 360.01
BS005 |  | 1st floor | Block A | SM003 | Select | 360.01
BS006 |  | 1st floor | Block B | SM004 | Select | 360.01
BS007 |  | 1st floor | Block B | SM005 | Select | 360.01
BS008 |  | 1st floor | Block B | SM005 | Select | 360.01
Note on A22: Vent system name can be changed in the list below.
Note on B22: Operating signal for up to 2 systems can be connected Master / Slave cabinet / IO module
Note on E22: Operating signal for up to 2 systems can be connected Master / Slave cabinet / IO module
Note on E31: Up to 2 fire dampers for each damper module
Note on G31: Names of ventilation systems can be made in the table above

## Data
Control cabinet
Select
Master cabinet
Slave Cabinet 01
Slave cabinet 02
Slave cabinet 03
Slave cabinet 04
Slave cabinet 05
Slave cabinet 05
Slave cabinet 05
Slave cabinet 05
Slave cabinet 05
Slave cabinet 05
Slave cabinet 05
Slave cabinet 05
Slave cabinet 05
Slave cabinet 05
Slave cabinet 05
Fire alarm control
Select
Common signal should close all dampers
Different signals should close systems / floors / building components (specification needed)
Fire alarm / Operating signal unit / Stop signal unit
Select
Master cabinet
Slave cabinet (specification needed)
IO module ring bus (specification required)
LAN bus IO module (specification required)
BMS
Select
No connection
Modbus TCP/IP
BACnet TCP/IP
Ringbus
Select
Connects in line
Connects in ring (provides higher security)